## Import&Desc
24_LT1015_alarm | Sump liquid level alarm
24_PD1006_alarm | Column differential pressure alarm
24_LT1028_alarm | Flooded condenser liquid level alarm
24_TE1037_alarm | Temperature of bottom product alarm
24_LT1029_alarm | Reflux drum liquid level(transmitter to timer valve) alarm
24_TE1036_alarm | Reflux drum temperature alarm
24_LT1016_alarm | Reflux drum liquid level(external setpoint to flowcontroller(24_FC1005)) alarm
24_FT1005_alarm | Output flow of top product alarm
24_FT1015_alarm | Reflux flow into top of the column alarm
24_PT1024_alarm | Overhead pressure alarm
24_TE1034_alarm | Column top output temperature
24_TE1033_alarm | Sump temperature alarm

## AlarmDef
24_LT1015_alarm | 24_LT1015 | 01**24 | AlarmAnalog | p1 | Sump liquid level alarm
24_PD1006_alarm | 24_PD1006 | 01**24 | AlarmAnalog | p1 | Column differential pressure alarm
24_LT1028_alarm | 24_LT1028 | 01**24 | AlarmAnalog | p1 | Flooded condenser liquid level alarm
24_TE1037_alarm | 24_TE1037 | 01**24 | AlarmAnalog | p1 | Temperature of bottom product alarm
24_LT1029_alarm | 24_LT1029 | 01**24 | AlarmAnalog | p1 | Reflux drum liquid level(transmitter to timer valve) alarm
24_TE1036_alarm | 24_TE1036 | 01**24 | AlarmAnalog | p1 | Reflux drum temperature alarm
24_LT1016_alarm | 24_LT1016 | 01**24 | AlarmAnalog | p1 | Reflux drum liquid level(external setpoint to flowcontroller(24_FC1005)) alarm
24_FT1005_alarm | 24_FT1005 | 01**24 | AlarmAnalog | p1 | Output flow of top product alarm
24_FT1015_alarm | 24_FT1015 | 01**24 | AlarmAnalog | p1 | Reflux flow into top of the column alarm
24_PT1024_alarm | 24_PT1024 | 01**24 | AlarmAnalog | p1 | Overhead pressure alarm
24_TE1034_alarm | 24_TE1034 | 01**24 | AlarmAnalog | p1 | Column top output temperature
24_TE1033_alarm | 24_TE1033 | 01**24 | AlarmAnalog | p1 | Sump temperature alarm

## Alarmlist
24_LT1015_alarm;24_LT1015;01**24;AlarmAnalog;p1;Sump liquid level alarm
24_PD1006_alarm;24_PD1006;01**24;AlarmAnalog;p1;Column differential pressure alarm
24_LT1028_alarm;24_LT1028;01**24;AlarmAnalog;p1;Flooded condenser liquid level alarm
24_TE1037_alarm;24_TE1037;01**24;AlarmAnalog;p1;Temperature of bottom product alarm
24_LT1029_alarm;24_LT1029;01**24;AlarmAnalog;p1;Reflux drum liquid level(transmitter to timer valve) alarm
24_TE1036_alarm;24_TE1036;01**24;AlarmAnalog;p1;Reflux drum temperature alarm
24_LT1016_alarm;24_LT1016;01**24;AlarmAnalog;p1;Reflux drum liquid level(external setpoint to flowcontroller(24_FC1005)) alarm
24_FT1005_alarm;24_FT1005;01**24;AlarmAnalog;p1;Output flow of top product alarm
24_FT1015_alarm;24_FT1015;01**24;AlarmAnalog;p1;Reflux flow into top of the column alarm
24_PT1024_alarm;24_PT1024;01**24;AlarmAnalog;p1;Overhead pressure alarm
24_TE1034_alarm;24_TE1034;01**24;AlarmAnalog;p1;Column top output temperature
24_TE1033_alarm;24_TE1033;01**24;AlarmAnalog;p1;Sump temperature alarm

## INFO
Steps to create new alarm database:
1. copy all alarm tags from model
2. paste alarm tags in column A in "Import&Desc" sheet
3. write a description to all alarms in columnB in "Import&Desc" sheet
4. make sure it is correct number of rows with functions in "AlarmDef" sheet (Column A - F). Number of rows should equals number of alarm tags
5. make sure it is correct number of rows with functions in "AlarmList" sheet (Column A). Number of rows should equals number of alarm tags
6. Create a .txt file of the "Alarmlist" sheet and name it "Alarmlist.txt". Make sure there is no additional lines or characters in the text file.
7. Run the Python script "AlarmDB_Python.py" - This will read the "Alarmlist.txt" file and create a new file: "AlarmDB.dbl"
8. Copy the new file to the model folder and import it from K-Spice menu: Alarms\Alarm Configuration\Load new alarm database
9. Save model and reload to include the database.

## Active Alarms
20_AT3009_alarm | -10000 | 10000 | 10000 | -10000 | 0 | 0 | 0 | 0
20_AT3033_alarm | -10000 | 10000 | 10000 | -10000 | 0 | 0 | 0 | 0
20_AT3034_alarm | -10000 | 10000 | 10000 | -10000 | 0 | 0 | 0 | 0
20_AT3106_alarm | -10000 | 10000 | 10000 | -10000 | 0 | 0 | 0 | 0
20_AT3111_alarm | -10000 | 10000 | 10000 | -10000 | 0 | 0 | 0 | 0
20_AT3112_alarm | -10000 | 10000 | 10000 | -10000 | 0 | 0 | 0 | 0
20_FT3062_alarm | -1000000.008 | 1000000.008 | 1000000.008 | -1000000.008 | 0 | 0 | 0 | 0
20_LI3044_alarm | -100000000000 | 100000000000 | 100000000000 | -100000000000 | 0 | 0 | 0 | 0
20_LI3045_alarm | -100000000000 | 100000000000 | 100000000000 | -100000000000 | 0 | 0 | 0 | 0
20_LI3046_alarm | -100000000000 | 100000000000 | 100000000000 | -100000000000 | 0 | 0 | 0 | 0
20_LI3047_alarm | -100000000000 | 100000000000 | 100000000000 | -100000000000 | 0 | 0 | 0 | 0
20_LT3069_alarm | 900 | 1550 | 1370 | 0 | 1 | 1 | 1 | 1 | 20_LT3069_alarm
20_LT3078_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
20_PDT3006_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
20_PDT3021_alarm | -1000000 | 0.5 | 1000000 | -1000000 | 0 | 1 | 0 | 0 | 20_PDT3021_alarm
20_PDT3040_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
20_PDT3041_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
20_PDT3052_alarm | 2.5 | 1000000 | 1000000 | -1000000 | 1 | 0 | 0 | 0 | 20_PDT3052_alarm
20_PDT3053_alarm | 1.5 | 1000000 | 1000000 | -1000000 | 1 | 0 | 0 | 0 | 20_PDT3053_alarm
20_PDT3093_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
20_PT3003_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
20_PT3021_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
20_PT3035_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
20_PT3054_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
20_PT3055_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
20_PT3059_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
20_PT3101_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
20_PT3102_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
20_TT3019_alarm | 60 | 1000000.05 | 200 | -1000000 | 1 | 0 | 1 | 0 | 20_TT3019_alarm
20_TT3020_alarm | 60 | 1000000.05 | 200 | -1000000 | 1 | 0 | 1 | 0 | 20_TT3020_alarm
20_TT3029_alarm | -1000000 | 430 | 1000000.05 | -1000000 | 0 | 1 | 0 | 0 | 20_TT3029_alarm
20_TT3050_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
20_TT3051_alarm | 60 | 295 | 80 | 40 | 1 | 1 | 1 | 1 | 20_TT3051_alarm
20_TT3064_alarm | -1000000 | 295 | 1000000.05 | -1000000 | 0 | 1 | 0 | 0 | 20_TT3064_alarm
20_TT3071_alarm | -1000000 | 50 | 1000000.05 | -1000000 | 0 | 1 | 0 | 0 | 20_TT3071_alarm
20_TT3079_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
20_TT3080_alarm | 5 | 1000000.05 | 40 | -1000000 | 1 | 0 | 1 | 0 | 20_TT3080_alarm
20_TT3081_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
20_TT3095_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
20_TT3097_alarm | -1000000 | 350 | 280 | -1000000 | 0 | 1 | 1 | 0 | 20_TT3097_alarm
24_AT3006_alarm | -10000 | 10000 | 10000 | -10000 | 0 | 0 | 0 | 0
24_AT3093_A_alarm | -10000 | 10000 | 10000 | -10000 | 0 | 0 | 0 | 0
24_AT3093_B_alarm | -10000 | 10000 | 10000 | -10000 | 0 | 0 | 0 | 0
24_AT3093_C_alarm | -10000 | 10000 | 10000 | -10000 | 0 | 0 | 0 | 0
24_AT3093_K_alarm | -10000 | 10000 | 10000 | -10000 | 0 | 0 | 0 | 0
24_FQT4185_alarm | -1000000.008 | 1000000.008 | 24526.0001 | -1000000.008 | 0 | 0 | 0 | 0
24_FT3001_alarm | -1000000.008 | 1000000.008 | 1000000.008 | -1000000.008 | 0 | 0 | 0 | 0
24_FT3017_alarm | 10000.0001 | 1000000.008 | 39999.9996 | -1000000.008 | 0 | 0 | 0 | 0
24_FT3018_alarm | 60000.0012 | 1000000.008 | 249990.0012 | -1000000.008 | 0 | 0 | 0 | 0
24_FT3037_alarm | -1000000.008 | 1000000.008 | 3500 | -1000000.008 | 0 | 0 | 1 | 0 | 24_FT3037_alarm
24_FT3040_alarm | -1000000.008 | 1000000.008 | 249999.9984 | -1000000.008 | 0 | 0 | 0 | 0
24_FT3050_alarm | 0 | 1000000.008 | 130010.0004 | -1000000.008 | 1 | 0 | 0 | 0 | 24_FT3050_alarm
24_FT3072_alarm | -1000000.008 | 1000000.008 | 1000000.008 | -1000000.008 | 0 | 0 | 0 | 0
24_FT3073_alarm | -1000000.008 | 1000000.008 | 1000000.008 | -1000000.008 | 0 | 0 | 0 | 0
24_FT3094_alarm | -1000000.008 | 1000000.008 | 1000000.008 | -1000000.008 | 0 | 0 | 0 | 0
24_FT3099_alarm | -1000000.008 | 1000000.008 | 1000000.008 | -1000000.008 | 0 | 0 | 0 | 0
24_LT3008_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
24_LT3010_alarm | 960 | 2390 | 2060 | 0 | 1 | 1 | 1 | 1 | 24_LT3010_alarm
24_LT3011_alarm | 789.06 | 2500 | 2255.14 | 0 | 1 | 1 | 1 | 1 | 24_LT3011_alarm
24_LT3012_alarm | 160.8 | 5360 | 5199.2 | 160.8 | 1 | 1 | 1 | 1 | 24_LT3012_alarm
24_LT3013_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
24_LT3031_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
24_PDT3044_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
24_PT3001_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
24_PT3017_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
24_PT3029_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
24_PT3034_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
24_PT3040_alarm | -9.9973 | 10.0027 | 10.0027 | -10 | 1 | 1 | 1 | 1 | 24_PT3040_alarm
24_PT3055_alarm | -1000000 | 29 | 1000000 | -1000000 | 0 | 1 | 0 | 0 | 24_PT3055_alarm
24_PT3076_alarm | -1000000 | 1000000 | 8.5132 | -1000000 | 0 | 0 | 1 | 0 | 24_PT3076_alarm
24_PT3094_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
24_PT3099_alarm | -9.9973 | 10.0027 | 10.0027 | -9.9973 | 1 | 1 | 1 | 1 | 24_PT3099_alarm
24_PT3195_alarm | -1000000 | 29 | 1000000 | -1000000 | 0 | 1 | 0 | 0 | 24_PT3195_alarm
24_PT3196_alarm | -1000000 | 29 | 1000000 | -1000000 | 0 | 1 | 0 | 0 | 24_PT3196_alarm
24_PT3199_alarm | -1000000 | 29 | 1000000 | -1000000 | 0 | 1 | 0 | 0 | 24_PT3199_alarm
24_PT3297_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
24_TT3001_alarm | -100000000000 | 100000000000 | 100000000000 | -100000000000 | 0 | 0 | 0 | 0
24_TT3019_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
24_TT3022_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
24_TT3023_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
24_TT3024_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
24_TT3026_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
24_TT3028_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
24_TT3040_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
24_TT3052_alarm | 60 | 1000000.05 | 90 | -1000000 | 1 | 0 | 1 | 0 | 24_TT3052_alarm
24_TT3063_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
24_TT3074_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
24_TT3094_alarm | -100000000000 | 100000000000 | 100000000000 | -100000000000 | 0 | 0 | 0 | 0
24_TT3096_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
24_TT3099_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
25_FT3004_alarm | -1000000.008 | 1000000.008 | 55199.9988 | -1000000.008 | 0 | 0 | 0 | 0
25_FT3005_alarm | -1000000.008 | 1000000.008 | 90000 | -1000000.008 | 0 | 0 | 0 | 0
25_FT3006_alarm | -1000000.008 | 1000000.008 | 166479.9984 | -1000000.008 | 0 | 0 | 0 | 0
25_FT3150_alarm | -1000000.008 | 1000000.008 | 1000000.008 | -1000000.008 | 0 | 0 | 0 | 0
25_LT3002_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
25_LT3103_alarm | 580 | 2900 | 1740 | 290 | 1 | 1 | 1 | 1 | 25_LT3103_alarm
25_LT3104_alarm | 2175 | 6090 | 5220 | 1740 | 1 | 1 | 1 | 1 | 25_LT3104_alarm
25_LT3106_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
25_LT3130_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
25_PDT3119_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
25_PDT3123_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
25_PDT3128_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
25_PT3001_alarm | 10.5132 | 1000000 | 12.5132 | -1000000 | 1 | 0 | 1 | 0 | 25_PT3001_alarm
25_PT3004_alarm | 0 | 1000000 | 50 | -1000000 | 1 | 0 | 1 | 0 | 25_PT3004_alarm
25_PT3005_alarm | 0 | 1000000 | 50 | -1000000 | 1 | 0 | 1 | 0 | 25_PT3005_alarm
25_PT3006_alarm | 0 | 1000000 | 50 | -1000000 | 1 | 0 | 1 | 0 | 25_PT3006_alarm
25_PT3046_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
25_PT3118_alarm | 4.8133 | 1000000 | 6.2133 | -1000000 | 1 | 0 | 1 | 0 | 25_PT3118_alarm
25_PT3148_alarm | 2.1633 | 1000000 | 3.0133 | -1000000 | 1 | 0 | 1 | 0 | 25_PT3148_alarm
25_PT3149_alarm | -1000000 | 1000000 | 1000000 | 1.8133 | 0 | 0 | 0 | 1 | 25_PT3149_alarm
25_PT3164_alarm | -1000000 | 13.2833 | 1000000 | -1000000 | 0 | 1 | 0 | 0 | 25_PT3164_alarm
25_PT3333_alarm | 5.5133 | 1000000 | 9.0132 | 5.0133 | 1 | 0 | 1 | 1 | 25_PT3333_alarm
25_PT3334_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
25_PT3335_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
25_PT3336_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
25_SI3153_alarm | 0 | 8298.9971 | 0 | 0 | 1 | 1 | 1 | 1 | 25_SI3153_alarm
25_SIA3151_alarm | 0 | 0 | 0 | 5049.9982 | 1 | 1 | 1 | 1 | 25_SIA3151_alarm
25_TE3158_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
25_TT3004_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
25_TT3005_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
25_TT3006_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
25_TT3019_alarm | -1000000 | 1000000.05 | -5 | -1000000 | 0 | 0 | 1 | 0 | 25_TT3019_alarm
25_TT3025_alarm | -1000000 | 1000000.05 | 8 | -1000000 | 0 | 0 | 1 | 0 | 25_TT3025_alarm
25_TT3040_alarm | -1000000 | 1000000.05 | -5 | -1000000 | 0 | 0 | 1 | 0 | 25_TT3040_alarm
25_TT3045_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
25_TT3126_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
25_TT3131_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
25_TT3136_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
25_TT3144_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
25_TT3154_alarm | -1000000 | 1000000.05 | 60 | -1000000 | 0 | 0 | 1 | 0 | 25_TT3154_alarm
25_TT3157_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
25_ZSH3153_alarm | 11 | 86906.894 | 0 | 0 | 1 | 0 | 1 | 1 | 25_ZSH3153_alarm
57_AI3010_alarm | -999726.85 | 1000273.2 | 1000273.2 | -999726.85 | 0 | 0 | 0 | 0
57_DT3003_alarm | -999726.85 | 1000273.2 | 1000273.2 | -999726.85 | 0 | 0 | 0 | 0
57_FT3003_alarm | 1001 | 1000000.008 | 13001 | -1000000.008 | 1 | 0 | 0 | 0 | 57_FT3003_alarm
57_FT3008_alarm | -1000000.008 | 1000000.008 | 1000000.008 | -1000000.008 | 0 | 0 | 0 | 0
57_FT3012_alarm | -1000000.008 | 1000000.008 | 1000000.008 | -1000000.008 | 0 | 0 | 0 | 0
57_FT3901_alarm | 2 | 1000000.008 | 1000000.008 | -1000000.008 | 1 | 0 | 0 | 0 | 57_FT3901_alarm
57_PT3005_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
57_PT3016_alarm | -1000000 | 1000000 | 1000000 | -1000000 | 0 | 0 | 0 | 0
57_PT3035_alarm | 8.0132 | 1000000 | 10.0132 | -1000000 | 1 | 0 | 1 | 0 | 57_PT3035_alarm
57_TA3006_alarm | 40 | 1000000.05 | 60 | 20 | 1 | 0 | 1 | 1 | 57_TA3006_alarm
57_TT3003_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0
57_TT3007_alarm | 25 | 80 | 1000000.05 | -1000000 | 1 | 1 | 0 | 0 | 57_TT3007_alarm
57_TT3017_alarm | -1000000 | 1000000.05 | 1000000.05 | -1000000 | 0 | 0 | 0 | 0